## Slide 1: Water Sensor Package
Kyle Ng

## Slide 2: Plan for Environmental Sensor Package
Create a datalogger for TDS sensor
Combine all the sensors into one datalogger
Design PCB to tie everything together
Design waterproof case to house all components
Test and validate

## Slide 3: 1/18/2022
Need to order TDS Probe and obtain a SD card and SD card reader
RTC, SD card reader, and TDS sensor code

## Slide 5: 1/25/2022
Code for TDS sensor data logging to SD card working
Need to test code when probe arrives

## Slide 6: 2/1/2022

## Slide 7
Turbidity

## Slide 8: 2/15/2022
Included TDS sensor into current sensor package
Next Step: rearrange components on board to fit in new housing

## Slide 9: Housing for sensors
Solar flaps can be used as a tripod
Probes and sensors will fit through the bottom
PCB with components will fit between the slots in the two rails
Next Steps:
  Add protection for probes/sensors on the bottom
  Add battery holder to the bottom component holder

## Slide 10: 2/22/2022
Solar Charging Findings
TDS Testing
Updated Housing for components

## Slide 11: Solar Charging
Arduino Pro-Mini, or Arduino Nano
TP4056 battery charge controller
100 uF capacitor
100 nF capacitor
MCP1700-3302E 3.3V voltage regulator
3.7V 18650 Lithium Ion battery (2000 mAH or more)*
6V DC, 500 mA solar panel*
Breadboard
Jumper wires

## Slide 12: Solar Charging configuration
Charges battery
Supplies power to circuit when solar is producing enough energy
Charge circuit disconnects at night and the battery takes over as power source
Lithium-Ion batteries can be connected in parallel if both batteries are identical

## Slide 13: Model Updates

## Slide 14: TDS salt experiment

## Slide 15: Updated Component Tray

## Slide 17: 3/15/2022
Updates:
  Redesigned component holder
  Redesigned water proof solar panel petal holder and cap
  Test fit components in the component holder
  Collected parts for solar charging
Goals:
  Create initial standalone solar battery charger

## Slide 18: Solar panel holder and Top Cap

## Slide 19: Assembly

## Slide 20: 3/29/2022 Solar Update
Current and voltage reading from solar panel
Current and voltage reading from solar panel with voltage step down
Current and voltage reading from solar panel with voltage step down and bms
Reviewing Daniels design

## Slide 21: solar panels
Voltage : 16V
Current : 40mA

## Slide 22: Solar panels with voltage step down
Voltage : 5V
Current : 160mA

## Slide 23: Solar panels with voltage step down and BMS
Voltage : 4.2V
Current : 33mA

## Slide 24: Wiring for panels
+
-
+
-
+
-
+
-
+
-

## Slide 25: Individual Solar Cell Information
Individual Cells Specs
Power : 132.3mW
Voltage : 8.29 V
Current : 21 mA
18 cells in parallel
Voltage : 8.29V
Current : 378mA
Battery Specs
Would need 42 cells to achieve standard charge rate

## Slide 26: 4/5/2022
New updates
Removed solar panels from epoxy to resolder and test
Pulled information on package power consumption
Future plans
Run test on fully charged 18650 to set a baseline for how long it will sustain the package for
Run test with solar charging added to see the impact it has on battery life
Design a probe protector for the bottom of the package
Create probe mounting cap out of PVC
Waterproof the 3D printed solar panel flap holder or make it out of solid plastic as well
Make the cap to the solar flap holder out of metal

## Slide 27: Solar cells
2 cells were damaged while removing from epoxy and cannot be used
The remaining cells were wired in parallel and produce 7.4V and 157mA
Arudino nano power consumption: 19mA
TDS power consumption: 3 – 6mA
Ph power consumption: 3 mA

## Slide 28: 4/12/2022
New updates
Solar charging circuit has been soldered together with connectors
Future plans
Run test on fully charged 18650 to set a baseline for how long it will sustain the package for
Run test with solar charging added to see the impact it has on battery life
Design a probe protector for the bottom of the package
Create probe mounting cap out of PVC
Waterproof the 3D printed solar panel flap holder or make it out of solid plastic as well
Add metal piece to the solar cap for magnet
Add in Air tag holder to solar cap
Redesign solar flap for new solar panel arrangment

## Slide 29: Thanks!
Name
Title
Email
Social