All Container Parts

Item (# of parts) (Grainger Part Number)

- PVC Female Adaptor (1) (1WJY4)

- Epoxy

- 3” Round Atrium Grate (1) (Home Depot)

- ABS Male Adaptor (1) (1WJD3)

- 1.5” by 1.5” steel plate (1) (We have steel)

- 14” long 2” diameter PVC Pipe (1) (788VR8 for 10ft white, 1AAZ8 for 8ft clear)

- ½” long ¼” diameter nut and bolt (2) (we have)

- 2” diameter O-ring (2) (2KAE2 is a 25 pack)

- Battery and PCB board tray 3D print (1)

- Steel plate holder 3D print (1)

- Buoy 3D Print (1)

- Spray Foam door and window

- PVC Glue (We have)

All Electronics

- Analog to digital converting PCB board (3)

- PCB board (1)

- Arduino Mini (1)

- JST XH 3 prong snap-in female wire connector (3)

- Dupont 3 prong female wire connector (3)

- pH sensor (1)

- Temperature sensor (1)

- TDS sensor (1)

- Turbidity sensor (1)